## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2020-03-09 | 9:03

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2019
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2019 Demand, MW | 54693.0216 | 53752.2794 | 60756.4143 | 51639.5731 | 60831.7408 | 68159.2479 | 70969.6008 | 74819.7146 | 69121.7127 | 65303.777 | 56446.4369 | 56080.311 | 74819.7146
Date | 01/24/2019 | 02/08/2019 | 03/05/2019 | 04/10/2019 | 05/23/2019 | 06/19/2019 | 07/30/2019 | 08/12/2019 | 09/06/2019 | 10/02/2019 | 11/12/2019 | 12/18/2019
Hour ending | 08:00 | 08:00 | 08:00 | 18:00 | 17:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 08:00 | 08:00
Day of the week | Thursday | Friday | Tuesday | Wednesday | Thursday | Wednesday | Tuesday | Monday | Friday | Wednesday | Tuesday | Wednesday
Forecasted Demand, MW | 58196.0718 | 56234.7515 | 49612.4777 | 54108.1185 | 61991.8919 | 70088.7011 | 72543.297 | 74853.2073 | 68803.3557 | 61034.1844 | 49585.0722 | 58026.5811 | 74853.2073
Difference, percent | -6.019% | -4.414% | 22.46% | -4.562% | -1.871% | -2.753% | -2.169% | -0.0447% | 0.4627% | 6.995% | 13.84% | -3.354% | -0.0447%
2018 Demand, MW | 65914.6978 | 55163.3408 | 46812.4691 | 47898.7 | 67265.1165 | 69122.8213 | 73473.0281 | 69918.5302 | 64630.2459 | 60827.2713 | 56316.5379 | 51955.9447 | 73473.0281
Date | 01/17/2018 | 02/12/2018 | 03/26/2018 | 04/24/2018 | 05/29/2018 | 06/27/2018 | 07/19/2018 | 08/23/2018 | 09/18/2018 | 10/04/2018 | 11/14/2018 | 12/10/2018
Hour ending | 08:00 | 08:00 | 17:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 08:00 | 08:00
Day of the week | Wednesday | Monday | Monday | Tuesday | Tuesday | Wednesday | Thursday | Thursday | Tuesday | Thursday | Wednesday | Monday
Increase, MW | -11221.6761 | -1411.0613 | 13943.9451 | 3740.8731 | -6433.3757 | -963.5734 | -2503.4273 | 4901.1844 | 4491.4668 | 4476.5057 | 129.899 | 4124.3663
Increase, percent | -17.02% | -2.558% | 29.79% | 7.81% | -9.564% | -1.394% | -3.407% | 7.01% | 6.95% | 7.359% | 0.2307% | 7.938%
Max All Time, MW | 65914.6978 | 57265 | 60756.4143 | 53486.2844 | 67265.1165 | 69122.8213 | 73473.0281 | 74819.7146 | 69121.7127 | 65303.777 | 56446.4369 | 57932.4325
Date | 01/17/2018 at 08:00 | 02/10/2011 at 08:00 | 03/05/2019 at 08:00 | 04/28/2017 at 17:00 | 05/29/2018 at 17:00 | 06/27/2018 at 17:00 | 07/19/2018 at 17:00 | 08/12/2019 at 17:00 | 09/06/2019 at 17:00 | 10/02/2019 at 17:00 | 11/12/2019 at 08:00 | 12/19/2016 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2019 Demand, MW | 55314.9622 | 53866.2334 | 61563.6014 | 51874.047 | 60961.1632 | 68271.3113 | 71161.514 | 74896.6615 | 69187.068 | 65365.3599 | 56827.3469 | 56567.5538 | 74896.6615
Date | 01/24/2019 | 02/08/2019 | 03/05/2019 | 04/10/2019 | 05/23/2019 | 06/19/2019 | 07/30/2019 | 08/12/2019 | 09/06/2019 | 10/02/2019 | 11/13/2019 | 12/18/2019
Interval ending | 07:15 | 07:30 | 07:15 | 17:00 | 16:45 | 17:00 | 16:30 | 17:00 | 16:45 | 16:45 | 07:00 | 07:15
Day of the week | Thursday | Friday | Tuesday | Wednesday | Thursday | Wednesday | Tuesday | Monday | Friday | Wednesday | Wednesday | Wednesday
Max All Time, MW | 66068.475 | 57971 | 61563.6014 | 53594.8638 | 67435.4482 | 69254.6172 | 73538.7 | 74896.6615 | 69187.068 | 65365.3599 | 57039.3063 | 58048.2808
Date | 01/17/2018 at 07:15 | 02/10/2011 at 07:15 | 03/05/2019 at 07:15 | 04/28/2017 at 17:00 | 05/29/2018 at 17:00 | 06/27/2018 at 17:00 | 07/19/2018 at 17:00 | 08/12/2019 at 17:00 | 09/06/2019 at 16:45 | 10/02/2019 at 16:45 | 11/14/2018 at 07:00 | 12/19/2016 at 07:30
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2019 Demand, MW | 28368.2713 | 28400.703 | 27733.8131 | 27576.5397 | 28310.4307 | 33227.153 | 34429.6764 | 38151.7981 | 37123.44 | 28245.3612 | 29210.0554 | 29633.8318
Date | 01/07/2019 | 02/04/2019 | 03/24/2019 | 04/08/2019 | 05/12/2019 | 06/12/2019 | 07/25/2019 | 08/31/2019 | 09/15/2019 | 10/13/2019 | 11/11/2019 | 12/26/2019
Interval ending | 03:45 | 03:15 | 05:00 | 03:45 | 04:15 | 04:00 | 04:00 | 05:00 | 05:45 | 04:30 | 03:30 | 03:00
Day of the week | Monday | Monday | Sunday | Monday | Sunday | Wednesday | Thursday | Saturday | Sunday | Sunday | Monday | Thursday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2019
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2019 Energy, MWh | 29830019.5964 | 26099559.3826 | 27821496.7377 | 26804516.6003 | 32042498.8468 | 35170345.9235 | 39246278.1733 | 41870192.6547 | 37337692.7592 | 30695358.8513 | 27817651.257 | 29322661.2131 | 384058271.9958
2019 YTD Energy, MWh | 29830019.5964 | 55929578.979 | 83751075.7167 | 110555592.3169 | 142598091.1638 | 177768437.0873 | 217014715.2605 | 258884907.9153 | 296222600.6744 | 326917959.5257 | 354735610.7827 | 384058271.9958
Forecasted Energy, MWh | 30208363.98 | 26375498.872 | 27385914.983 | 27527645.499 | 32260716.745 | 36557381.995 | 39736625.42 | 40622198.045 | 34781250.133 | 30642579.175 | 27603162.484 | 30784921.699 | 384486259.03
Difference, percent | -1.252% | -1.046% | 1.59% | -2.627% | -0.6764% | -3.794% | -1.234% | 3.072% | 7.35% | 0.1722% | 0.777% | -4.75% | -0.1113%
YTD Forecasted Energy, MWh | 30208363.98 | 56583862.852 | 83969777.835 | 111497423.334 | 143758140.079 | 180315522.074 | 220052147.494 | 260674345.539 | 295455595.672 | 326098174.847 | 353701337.331 | 384486259.03
YTD Difference, percent | -1.252% | -1.156% | -0.2605% | -0.8447% | -0.8069% | -1.413% | -1.38% | -0.6865% | 0.2596% | 0.2514% | 0.2924% | -0.1113%
2018 Energy, MWh | 31282293.2077 | 25761057.5174 | 26169922.0072 | 25748649.2681 | 33733260.6315 | 37383554.7771 | 39628861.8554 | 39204901.927 | 32481363.8011 | 29136475.1918 | 27128335.0042 | 28725175.0741 | 376383850.2627
Increase, MWh | -1452273.6113 | 338501.8652 | 1651574.7304 | 1055867.3322 | -1690761.7846 | -2213208.8536 | -382583.6822 | 2665290.7277 | 4856328.958 | 1558883.6594 | 689316.2528 | 597486.139 | 7674421.733
Increase, percent | -4.643% | 1.314% | 6.311% | 4.101% | -5.012% | -5.92% | -0.9654% | 6.798% | 14.95% | 5.35% | 2.541% | 2.08% | 2.039%
2018 YTD Energy, MWh | 31282293.2077 | 57043350.7252 | 83213272.7324 | 108961922.0005 | 142695182.6319 | 180078737.409 | 219707599.2645 | 258912501.1915 | 291393864.9926 | 320530340.1845 | 347658675.1887 | 376383850.2627
Increase, MWh | -1452273.6113 | -1113771.7461 | 537802.9843 | 1593670.3165 | -97091.4682 | -2310300.3218 | -2692884.004 | -27593.2763 | 4828735.6818 | 6387619.3412 | 7076935.594 | 7674421.733
Increase, percent | -4.643% | -1.953% | 0.6463% | 1.463% | -0.068% | -1.283% | -1.226% | -0.0107% | 1.657% | 1.993% | 2.036% | 2.039%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2019 | 73.31% | 72.25% | 61.63% | 72.09% | 70.8% | 71.67% | 74.33% | 75.22% | 75.02% | 63.18% | 68.35% | 70.28% | 58.6%
Demand Factors 2018 | 63.79% | 69.49% | 75.24% | 74.66% | 67.41% | 75.11% | 72.5% | 75.37% | 69.8% | 64.38% | 66.81% | 74.31% | 58.48%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2019 | 72.48% | 72.1% | 60.82% | 71.77% | 70.65% | 71.55% | 74.13% | 75.14% | 74.95% | 63.12% | 67.89% | 69.67% | 58.54%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2019
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1895.9745 | 1854.2935 | 2196.5751 | 1969.1544 | 2293.0209 | 2544.816 | 2621.9552 | 2777.9043 | 2621.533 | 4843.389 | 1978.2027 | 1974.8566
LZ_CPS | 3627.233 | 3226.393 | 4121.635 | 3715.5784 | 4250.4408 | 4704.2183 | 4809.2941 | 5086.6602 | 4609.5531 | 8778.0029 | 3593.6859 | 3844.4932
LZ_HOUSTON | 13258.2056 | 11889.6182 | 13809.0102 | 14322.9332 | 16199.8004 | 18890.0758 | 18323.8158 | 19489.3261 | 18363.9609 | 33896.3628 | 12925.1062 | 13055.7816
LZ_LCRA | 2363.9165 | 2170.3119 | 2780.5679 | 1760.2588 | 2155.8423 | 2548.478 | 2664.7073 | 2852.509 | 2629.3041 | 4749.452 | 2427.6288 | 2550.2282
LZ_NORTH | 20380.0134 | 21957.3017 | 23547.4764 | 17339.2788 | 21348.7646 | 23789.5438 | 26306.8234 | 27405.61 | 25339.931 | 47948.897 | 21558.0792 | 20484.7247
LZ_RAYBN | 799.8833 | 840.4753 | 941.8906 | 453.711 | 642.9375 | 717.6264 | 869.917 | 917.4415 | 852.794 | 1525.5832 | 880.5827 | 795.5312
LZ_SOUTH | 7737.0338 | 6464.8542 | 8519.9408 | 7001.221 | 8387.8082 | 9057.077 | 9154.8132 | 9578.4708 | 8612.0573 | 16729.7554 | 7639.8575 | 7910.4501
LZ_WEST | 5252.7023 | 5462.9856 | 5646.5054 | 5311.9114 | 5682.5484 | 6019.4759 | 6410.188 | 6788.7398 | 6157.9345 | 12172.661 | 5824.204 | 5951.4882
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2001.0379 | 1991.9463 | 2196.5751 | 1988.3112 | 2299.6352 | 2620.7004 | 2720.4638 | 2831.2276 | 2654.2901 | 2436.503 | 2083.1185 | 1978.9985
Date and Time | 2 @ 18:00 | 8 @ 18:45 | 5 @ 07:15 | 10 @ 18:00 | 23 @ 17:00 | 20 @ 18:00 | 31 @ 18:00 | 13 @ 18:00 | 5 @ 18:00 | 2 @ 17:15 | 12 @ 09:00 | 18 @ 07:30
LZ_CPS | 3627.233 | 3576.8238 | 4125.8714 | 3766.3785 | 4301.4285 | 4882.7948 | 4952.4475 | 5273.7097 | 5044.0538 | 4548.5713 | 3712.9837 | 3853.3723
Date and Time | 24 @ 07:15 | 8 @ 19:00 | 5 @ 07:00 | 10 @ 17:45 | 29 @ 17:00 | 19 @ 18:00 | 31 @ 18:00 | 26 @ 18:15 | 19 @ 17:00 | 10 @ 17:00 | 12 @ 07:15 | 19 @ 07:15
LZ_HOUSTON | 13258.2056 | 12959.2661 | 13809.0102 | 14689.3938 | 17632.1315 | 18970.9311 | 19018.5742 | 20291.479 | 18618.9899 | 17117.2932 | 12925.1062 | 13119.1843
Date and Time | 24 @ 07:15 | 8 @ 18:30 | 5 @ 07:15 | 29 @ 16:00 | 28 @ 16:30 | 19 @ 16:30 | 18 @ 16:00 | 14 @ 16:30 | 5 @ 16:30 | 1 @ 15:30 | 13 @ 07:00 | 19 @ 07:15
LZ_LCRA | 2363.9165 | 2320.776 | 2780.5679 | 1779.841 | 2177.1774 | 2581.5142 | 2733.2433 | 2903.2383 | 2641.2714 | 2408.9186 | 2573.9038 | 2550.2282
Date and Time | 24 @ 07:15 | 8 @ 18:45 | 5 @ 07:15 | 10 @ 17:45 | 23 @ 17:30 | 20 @ 17:45 | 31 @ 17:30 | 13 @ 17:30 | 6 @ 17:30 | 6 @ 17:15 | 12 @ 08:45 | 18 @ 07:15
LZ_NORTH | 21148.4658 | 22015.9953 | 23612.4878 | 17420.942 | 21353.1565 | 24977.035 | 26319.942 | 27699.2737 | 25343.0237 | 23985.5931 | 22283.4167 | 20484.7247
Date and Time | 23 @ 07:30 | 8 @ 07:15 | 4 @ 07:15 | 10 @ 18:00 | 23 @ 17:00 | 20 @ 17:00 | 10 @ 16:00 | 26 @ 17:30 | 6 @ 16:30 | 2 @ 16:15 | 12 @ 07:15 | 18 @ 07:15
LZ_RAYBN | 805.3913 | 853.9436 | 976.8667 | 551.7274 | 658.7439 | 801.6175 | 882.7613 | 937.7034 | 869.3994 | 790.5279 | 898.1337 | 798.2211
Date and Time | 20 @ 08:45 | 8 @ 07:15 | 4 @ 07:00 | 1 @ 07:00 | 23 @ 17:45 | 20 @ 18:30 | 30 @ 17:45 | 26 @ 17:45 | 8 @ 17:15 | 6 @ 16:15 | 12 @ 06:45 | 18 @ 07:00
LZ_SOUTH | 7737.0338 | 7442.5571 | 8519.9408 | 7069.6209 | 8387.8082 | 9085.7129 | 9262.5703 | 9678.5284 | 8961.3311 | 8834.6296 | 8024.8996 | 7910.4501
Date and Time | 24 @ 07:15 | 9 @ 10:00 | 5 @ 07:15 | 9 @ 17:00 | 23 @ 16:45 | 19 @ 16:30 | 15 @ 16:00 | 14 @ 16:45 | 18 @ 16:45 | 10 @ 16:30 | 12 @ 19:30 | 18 @ 07:15
LZ_WEST | 5564.3765 | 5481.5237 | 5732.6719 | 5370.0529 | 5695.5916 | 6303.6286 | 6509.7308 | 6798.3233 | 6398.5758 | 6117.0793 | 6124.4558 | 6022.0582
Date and Time | 2 @ 18:45 | 20 @ 07:15 | 4 @ 07:15 | 28 @ 17:45 | 23 @ 17:00 | 21 @ 16:15 | 31 @ 17:00 | 12 @ 16:45 | 3 @ 17:00 | 1 @ 16:30 | 11 @ 18:30 | 17 @ 07:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1057029.3819 | 931564.4785 | 1017498.709 | 998394.9423 | 1191486.8208 | 1288147.6932 | 1453191.8323 | 1578437.0886 | 1422730.9664 | 1155411.3157 | 1018051.1513 | 1019667.78
LZ_CPS | 1798581.5536 | 1545783.027 | 1697461.7936 | 1684463.6392 | 2076899.5643 | 2295184.6858 | 2572765.3879 | 2835541.7429 | 2508506.8708 | 1976931.8991 | 1694893.4025 | 1734741.4955
LZ_HOUSTON | 7279126.9136 | 6550076.3049 | 7252116.9691 | 7471416.3029 | 9115167.131 | 9953449.4449 | 10661963.0413 | 11049305.926 | 9708256.4291 | 8212740.5402 | 7120427.9155 | 7521119.1058
LZ_LCRA | 1046315.2733 | 859688.0115 | 901143.682 | 811219.3684 | 1003361.0646 | 1150351.0317 | 1331094.4811 | 1476148.0554 | 1290011.6558 | 1004841.7346 | 944346.6415 | 996385.0265
LZ_NORTH | 10956999.4532 | 9415068.625 | 9579587.9594 | 8744765.2748 | 10402931.6355 | 11691929.32 | 13601703.1754 | 14685496.1355 | 13235839.3945 | 10078845.9248 | 9417314.3504 | 10048631.5673
LZ_RAYBN | 374932.2087 | 307285.3879 | 298107.2737 | 235027.6014 | 286841.8278 | 335439.163 | 407250.6048 | 445140.7741 | 394709.491 | 284863.0095 | 297339.1014 | 329610.8958
LZ_SOUTH | 3810300.8932 | 3359602.3444 | 3692568.692 | 3578728.0111 | 4437842.4834 | 4785120.151 | 5185695.3479 | 5532479.9938 | 4863829.5027 | 4238538.9101 | 3651550.9354 | 3784699.2011
LZ_WEST | 3506733.9189 | 3130491.2036 | 3383011.659 | 3280501.4602 | 3527968.3194 | 3670724.4339 | 4032614.3026 | 4267642.9384 | 3913808.4489 | 3743185.5173 | 3673727.7588 | 3887806.1412
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2019
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 14198.0898 | 12790.3279 | 14752.2608 | 15096.4589 | 17172.834 | 19867.9055 | 19328.2038 | 20515.0617 | 19347.6745 | 35760.143 | 13898.2886 | 14079.4801
EAST | 2194.3205 | 2022.2483 | 2256.1765 | 1760.2578 | 2149.7192 | 2173.9014 | 2260.2319 | 2448.505 | 2323.1962 | 4585.8944 | 2207.3462 | 2122.571
FWEST | 3405.8231 | 3446.2729 | 3476.3397 | 3523.2114 | 3808.9997 | 3868.8586 | 4068.3822 | 4315.5502 | 3904.7641 | 8008.0084 | 3874.32 | 3975.2704
NCENT | 18689.991 | 20453.5094 | 21907.5037 | 15823.6969 | 19532.0762 | 22013.6491 | 24539.5896 | 25456.1238 | 23490.5208 | 44165.8298 | 19945.7032 | 18859.9367
NORTH | 1113.7256 | 1218.7634 | 1267.1499 | 913.4043 | 1073.5112 | 1197.8913 | 1359.0697 | 1478.3714 | 1340.0923 | 2483.5245 | 1140.3446 | 1121.5541
SCENT | 9371.7453 | 8704.3281 | 10737.8716 | 8719.5802 | 10306.3171 | 11499.365 | 11879.7851 | 12589.5748 | 11619.6944 | 21636.5875 | 9426.2596 | 9891.0372
SOUTH | 4695.3748 | 3574.0431 | 5218.8385 | 4488.9553 | 5300.5235 | 5751.214 | 5727.3566 | 6003.8274 | 5256.6287 | 10483.0231 | 4644.871 | 4680.858
WEST | 1645.8922 | 1656.7402 | 1947.4608 | 1548.4823 | 1617.1823 | 1898.5264 | 1998.8952 | 2089.6472 | 1904.4969 | 3521.0923 | 1690.2137 | 1836.8462
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 14198.0898 | 13880.5985 | 14752.2608 | 15446.224 | 18681.7041 | 19951.5796 | 20026.0829 | 21356.0329 | 19598.1719 | 18037.2502 | 13898.2886 | 14152.9464
Date and Time | 24 @ 07:15 | 8 @ 18:30 | 5 @ 07:15 | 29 @ 16:30 | 28 @ 16:30 | 19 @ 16:30 | 18 @ 15:45 | 14 @ 16:30 | 5 @ 16:30 | 1 @ 15:45 | 13 @ 07:00 | 19 @ 07:15
EAST | 2194.3205 | 2092.7593 | 2258.6724 | 1816.5957 | 2149.7192 | 2271.9036 | 2451.1004 | 2560.7455 | 2413.9082 | 2314.4298 | 2246.3229 | 2122.571
Date and Time | 24 @ 07:15 | 8 @ 10:45 | 5 @ 07:00 | 2 @ 07:30 | 23 @ 16:45 | 21 @ 15:00 | 22 @ 15:45 | 20 @ 16:00 | 3 @ 16:00 | 3 @ 15:30 | 13 @ 07:15 | 18 @ 07:15
FWEST | 3535.2046 | 3557.3449 | 3579.845 | 3670.1838 | 3822.7504 | 4032.089 | 4179.3984 | 4321.9755 | 4155.8289 | 4091.2085 | 4134.4069 | 4049.9189
Date and Time | 2 @ 18:45 | 20 @ 07:15 | 3 @ 20:30 | 28 @ 17:45 | 23 @ 17:00 | 21 @ 16:15 | 19 @ 16:45 | 12 @ 16:15 | 3 @ 16:45 | 10 @ 16:15 | 11 @ 18:30 | 19 @ 07:45
NCENT | 19701.4457 | 20453.5094 | 22102.3673 | 15962.0468 | 19607.5849 | 23213.4903 | 24539.5896 | 25725.6629 | 23496.1876 | 22108.0618 | 20746.6146 | 18859.9367
Date and Time | 23 @ 07:30 | 8 @ 07:30 | 4 @ 07:15 | 10 @ 18:00 | 23 @ 17:00 | 20 @ 18:00 | 30 @ 16:30 | 26 @ 17:00 | 6 @ 17:00 | 2 @ 16:15 | 12 @ 07:15 | 18 @ 07:15
NORTH | 1184.8217 | 1224.3098 | 1319.5981 | 920.2832 | 1073.5112 | 1293.3444 | 1398.4807 | 1489.1386 | 1341.4683 | 1243.9126 | 1197.9339 | 1121.5541
Date and Time | 23 @ 07:30 | 8 @ 07:15 | 4 @ 07:15 | 10 @ 18:15 | 23 @ 16:45 | 21 @ 17:00 | 31 @ 16:30 | 26 @ 16:30 | 6 @ 16:30 | 2 @ 16:30 | 12 @ 07:15 | 18 @ 07:15
SCENT | 9371.7453 | 9382.7123 | 10737.8716 | 8822.3107 | 10367.3377 | 11784.6921 | 12241.5709 | 12869.4793 | 11804.5843 | 11065.8673 | 9901.6149 | 9902.1829
Date and Time | 24 @ 07:15 | 8 @ 19:00 | 5 @ 07:15 | 10 @ 18:00 | 23 @ 17:30 | 19 @ 18:00 | 31 @ 18:00 | 26 @ 18:15 | 18 @ 17:45 | 10 @ 17:00 | 12 @ 08:45 | 19 @ 07:15
SOUTH | 4695.3748 | 4548.8074 | 5241.2466 | 4576.4769 | 5386.648 | 5859.9578 | 5826.542 | 6078.2722 | 5686.7683 | 5526.9921 | 4998.9016 | 4680.858
Date and Time | 24 @ 07:15 | 9 @ 19:15 | 4 @ 20:15 | 9 @ 17:15 | 30 @ 16:15 | 7 @ 16:15 | 8 @ 16:45 | 15 @ 16:30 | 18 @ 16:30 | 10 @ 16:30 | 12 @ 19:30 | 18 @ 07:15
WEST | 1779.9406 | 1669.3172 | 1947.4608 | 1548.4823 | 1671.4282 | 1932.7078 | 2025.1738 | 2127.9651 | 1916.9055 | 1767.2775 | 1814.2158 | 1836.8462
Date and Time | 2 @ 18:30 | 20 @ 07:15 | 5 @ 07:15 | 10 @ 17:00 | 28 @ 17:30 | 20 @ 16:45 | 31 @ 16:30 | 26 @ 16:30 | 18 @ 17:00 | 2 @ 16:45 | 12 @ 07:15 | 18 @ 07:15
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 7785011.2102 | 7015319.9908 | 7726810.2521 | 7927584.6684 | 9712074.801 | 10515531.3619 | 11275054.325 | 11672845.8592 | 10269287.1859 | 8735370.3408 | 7598198.1612 | 8060238.652
EAST | 1070116.6012 | 921071.7793 | 958259.0122 | 909846.4942 | 1058389.0638 | 1131496.0436 | 1288850.0604 | 1390610.8752 | 1249435.8881 | 1027538.3755 | 965787.5456 | 996147.7542
FWEST | 2362989.4734 | 2134708.5383 | 2315452.3557 | 2278053.3426 | 2446406.571 | 2493594.4864 | 2693650.4348 | 2835881.5692 | 2653406.6375 | 2658188.0038 | 2622435.0183 | 2772186.7499
NCENT | 10094989.3802 | 8659820.3894 | 8787224.6847 | 7957959.8714 | 9493391.0104 | 10731631.1909 | 12531457.8084 | 13539018.3467 | 12195280.9755 | 9202898.2968 | 8619024.7099 | 9240035.0812
NORTH | 660162.2625 | 565685.728 | 570955.0033 | 504403.363 | 570372.5489 | 641304.7734 | 744460.3253 | 797360.3385 | 704457.77 | 567986.0457 | 556062.6193 | 592986.8786
SCENT | 4646040.3871 | 3990708.738 | 4303654.1557 | 4154016.6362 | 5067517.4233 | 5614225.8974 | 6343112.0965 | 6959011.7681 | 6181203.8594 | 4929316.3615 | 4372903.9382 | 4495232.7026
SOUTH | 2279759.8623 | 2015673.3478 | 2299361.5195 | 2257082.383 | 2804149.8151 | 3063943.5446 | 3263626.368 | 3484273.682 | 3034489.7296 | 2673927.0584 | 2214392.9828 | 2235380.2681
WEST | 930950.4195 | 796570.871 | 859779.7544 | 815569.8414 | 890197.6133 | 978618.6254 | 1106066.7549 | 1191190.2159 | 1050130.713 | 900134.3688 | 868846.2818 | 930453.1264
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2019
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 34734.2524 | 30798.4477 | 47484.3108 | 27935.0365 | 30896.9142 | 28533.4178 | 34267.8347 | 74763.1115 | 34149.2317 | 26543.9536 | 25060.3184 | 25504.761 | 420671.5903
Coal | 6783551.1637 | 6187673.1454 | 6004722.6949 | 5131796.6826 | 6717542.5699 | 7151502.4948 | 7776380.5666 | 7385694.0629 | 7321206.3609 | 6359293.3948 | 5662341.8249 | 5375474.4996 | 77857179.4609
Gas | 1083036.6348 | 889283.032 | 1316981.7195 | 1770461.9353 | 2177012.871 | 2646852.2215 | 3545346.6277 | 5311456.2966 | 3686216.298 | 2528508.426 | 1463602.9542 | 960536.6452 | 27379295.6619
Gas-CC | 11978393.7604 | 9205741.6599 | 10299959.1825 | 8948279.3093 | 12570980.1987 | 15262476.604 | 17314384.0605 | 18579998.4148 | 16100190.0954 | 11590245.6871 | 10375097.0478 | 12165035.7633 | 154390781.7839
Hydro | 145480.9923 | 71700.7047 | 72964.9594 | 113684.4872 | 190693.692 | 124100.6342 | 62907.3922 | 54954.1134 | 40989.896 | 24687.1432 | 22382.4915 | 31330.6768 | 955877.1829
Net DC/BLT | -101537.7499 | -118743.9739 | 20774.4121 | 614.7416 | -102230.6526 | 141318.9863 | 147526.5447 | 231942.0328 | 184003.8035 | 67853.7931 | 112475.6033 | 27659.4297 | 611656.9707
Nuclear | 3229800.5447 | 3431180.5572 | 3722500.5082 | 3252094.1214 | 2934123.8069 | 3601152.258 | 3704601.4143 | 3690747.0766 | 3582101.7899 | 2876722.1364 | 3498267.1858 | 3790221.1186 | 41313512.518
Other | 1807.3104 | 2213.3358 | 1435.4131 | 1665.4476 | 1427.0392 | 2375.2461 | 3733.4014 | 7362.1981 | 3153.8279 | 766.3334 | -802.0583 | -1397.6449 | 23739.85
Solar | 238603.0537 | 227025.5057 | 289484.311 | 409587.4636 | 376923.4758 | 446955.6232 | 511011.1239 | 504547.5572 | 402543.7565 | 366980.1567 | 284144.7762 | 340049.8259 | 4397856.6294
Wind | 6436149.6339 | 6172686.9681 | 6045189.2262 | 7148397.3751 | 7145128.9317 | 5765078.4375 | 6146119.2072 | 6028727.7908 | 5983137.6992 | 6853757.827 | 6375081.1131 | 6608246.1379 | 76707700.3478
Total | 29830019.5964 | 26099559.3826 | 27821496.7377 | 26804516.6003 | 32042498.8468 | 35170345.9235 | 39246278.1733 | 41870192.6547 | 37337692.7592 | 30695358.8513 | 27817651.257 | 29322661.2131 | 384058271.9958
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.1164% | 0.118% | 0.1707% | 0.1042% | 0.0964% | 0.0811% | 0.0873% | 0.1786% | 0.0915% | 0.0865% | 0.0901% | 0.087% | 0.1095%
Coal | 22.74% | 23.71% | 21.58% | 19.15% | 20.96% | 20.33% | 19.81% | 17.64% | 19.61% | 20.72% | 20.36% | 18.33% | 20.27%
Gas | 3.631% | 3.407% | 4.734% | 6.605% | 6.794% | 7.526% | 9.034% | 12.69% | 9.873% | 8.237% | 5.261% | 3.276% | 7.129%
Gas-CC | 40.16% | 35.27% | 37.02% | 33.38% | 39.23% | 43.4% | 44.12% | 44.38% | 43.12% | 37.76% | 37.3% | 41.49% | 40.2%
Hydro | 0.4877% | 0.2747% | 0.2623% | 0.4241% | 0.5951% | 0.3529% | 0.1603% | 0.1312% | 0.1098% | 0.0804% | 0.0805% | 0.1068% | 0.2489%
Net DC/BLT | -0.3404% | -0.455% | 0.0747% | 0.0023% | -0.319% | 0.4018% | 0.3759% | 0.554% | 0.4928% | 0.2211% | 0.4043% | 0.0943% | 0.1593%
Nuclear | 10.83% | 13.15% | 13.38% | 12.13% | 9.157% | 10.24% | 9.439% | 8.815% | 9.594% | 9.372% | 12.58% | 12.93% | 10.76%
Other | 0.0061% | 0.0085% | 0.0052% | 0.0062% | 0.0045% | 0.0068% | 0.0095% | 0.0176% | 0.0084% | 0.0025% | -0.0029% | -0.0048% | 0.0062%
Solar | 0.7999% | 0.8698% | 1.04% | 1.528% | 1.176% | 1.271% | 1.302% | 1.205% | 1.078% | 1.196% | 1.022% | 1.16% | 1.145%
Wind | 21.58% | 23.65% | 21.73% | 26.67% | 22.3% | 16.39% | 15.66% | 14.4% | 16.02% | 22.33% | 22.92% | 22.54% | 19.97%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel. This category also includes adjustments for Wholesale Storage Load.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 34.7343 | 30.7984 | 47.4843 | 27.935 | 30.8969 | 28.5334 | 34.2678 | 74.7631 | 34.1492 | 26.544 | 25.0603 | 25.5048
Coal | 6783.5512 | 6187.6731 | 6004.7227 | 5131.7967 | 6717.5426 | 7151.5025 | 7776.3806 | 7385.6941 | 7321.2064 | 6359.2934 | 5662.3418 | 5375.4745
Gas | 1083.0366 | 889.283 | 1316.9817 | 1770.4619 | 2177.0129 | 2646.8522 | 3545.3466 | 5311.4563 | 3686.2163 | 2528.5084 | 1463.603 | 960.5366
Gas-CC | 11978.3938 | 9205.7417 | 10299.9592 | 8948.2793 | 12570.9802 | 15262.4766 | 17314.3841 | 18579.9984 | 16100.1901 | 11590.2457 | 10375.097 | 12165.0358
Hydro | 145.481 | 71.7007 | 72.965 | 113.6845 | 190.6937 | 124.1006 | 62.9074 | 54.9541 | 40.9899 | 24.6871 | 22.3825 | 31.3307
Net DC/BLT | -101.5378 | -118.744 | 20.7744 | 0.61474 | -102.2307 | 141.319 | 147.5265 | 231.942 | 184.0038 | 67.8538 | 112.4756 | 27.6594
Nuclear | 3229.8005 | 3431.1806 | 3722.5005 | 3252.0941 | 2934.1238 | 3601.1523 | 3704.6014 | 3690.7471 | 3582.1018 | 2876.7221 | 3498.2672 | 3790.2211
Other | 1.8073 | 2.2133 | 1.4354 | 1.6654 | 1.427 | 2.3752 | 3.7334 | 7.3622 | 3.1538 | 0.76633 | -0.80206 | -1.3976
Solar | 238.6031 | 227.0255 | 289.4843 | 409.5875 | 376.9235 | 446.9556 | 511.0111 | 504.5476 | 402.5438 | 366.9802 | 284.1448 | 340.0498
Wind | 6436.1496 | 6172.687 | 6045.1892 | 7148.3974 | 7145.1289 | 5765.0784 | 6146.1192 | 6028.7278 | 5983.1377 | 6853.7578 | 6375.0811 | 6608.2461
* Information for this month has been updated based on final settlements.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Net DC/BLT | Gas-CC | Gas
Jan* | 3230 | 6784 | 6436 | 239 | 145 | 35 | 2 | -102 | 11978 | 1083
Feb* | 3431 | 6188 | 6173 | 227 | 72 | 31 | 2 | -119 | 9206 | 889
Mar* | 3723 | 6005 | 6045 | 289 | 73 | 47 | 1 | 21 | 10300 | 1317
Apr* | 3252 | 5132 | 7148 | 410 | 114 | 28 | 2 | 1 | 8948 | 1770
May* | 2934 | 6718 | 7145 | 377 | 191 | 31 | 1 | -102 | 12571 | 2177
Jun* | 3601 | 7152 | 5765 | 447 | 124 | 29 | 2 | 141 | 15262 | 2647
Jul* | 3705 | 7776 | 6146 | 511 | 63 | 34 | 4 | 148 | 17314 | 3545
Aug* | 3691 | 7386 | 6029 | 505 | 55 | 75 | 7 | 232 | 18580 | 5311
Sep* | 3582 | 7321 | 5983 | 403 | 41 | 34 | 3 | 184 | 16100 | 3686
Oct* | 2877 | 6359 | 6854 | 367 | 25 | 27 | 1 | 68 | 11590 | 2529
Nov* | 3498 | 5662 | 6375 | 284 | 22 | 25 | -1 | 112 | 10375 | 1464
Dec* | 3790 | 5375 | 6608 | 340 | 31 | 26 | -1 | 28 | 12165 | 961

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2018 Actual | 2019 Actual
Jan* | 31282 | 29830
Feb* | 25761 | 26100
Mar* | 26170 | 27821
Apr* | 25749 | 26805
May* | 33733 | 32042
Jun* | 37384 | 35170
Jul* | 39629 | 39246
Aug* | 39205 | 41870
Sep* | 32481 | 37338
Oct* | 29136 | 30695
Nov* | 27128 | 27818
Dec* | 28725 | 29323

## data_Energy Comparisons_2 (hidden)
| 2019 Forecast | 2019 Actual
Jan* | 30208 | 29830
Feb* | 26375 | 26100
Mar* | 27386 | 27821
Apr* | 27528 | 26805
May* | 32261 | 32042
Jun* | 36557 | 35170
Jul* | 39737 | 39246
Aug* | 40622 | 41870
Sep* | 34781 | 37338
Oct* | 30643 | 30695
Nov* | 27603 | 27818
Dec* | 30785 | 29323

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2018 Actual | 2019 Actual
Jan* | 65915 | 54693
Feb* | 55163 | 53752
Mar* | 46812 | 60756
Apr* | 47899 | 51640
May* | 67265 | 60832
Jun* | 69123 | 68159
Jul* | 73473 | 70970
Aug* | 69919 | 74820
Sep* | 64630 | 69122
Oct* | 60827 | 65304
Nov* | 56317 | 56446
Dec* | 51956 | 56080

## data_Demand Comparisons_2 (hidden)
| 2019 Forecast | 2019 Actual
Jan* | 58196 | 54693
Feb* | 56235 | 53752
Mar* | 49612 | 60756
Apr* | 54108 | 51640
May* | 61992 | 60832
Jun* | 70089 | 68159
Jul* | 72543 | 70970
Aug* | 74853 | 74820
Sep* | 68803 | 69122
Oct* | 61034 | 65304
Nov* | 49585 | 56446
Dec* | 58027 | 56080